## Sheet1
| Item number |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
| Place of acceptance (full adress)/Article | Name of person responsible for provisional and final acceptance | Air quality Monitoring Container (Includes air conditioning and calibration gases): quantity | Automatic analyzer for measuring of suspended particulate matter PM10, PM2.5 and PM1: quantity | Sulphur dioxide (SO2) analyzer: quantity | Nitrogen oxides analyser NOx (NO and NO2): quantity | Ozone analyzer (O3): quantity | Meteorological equipment –Air Quality Monitoring Station: quantity | PM10, PM2.5 sequential standard reference sampler: quantity | Data acquisition system (Data logger, 4G GSM router and software): quantity | UPS- uninterruptible power supply system: quantity
1 | Beograd Stari grad/Visnjiceva 7a | Stefan Simeunovic | bar: 7
2 | Beograd Novi Beograd/Omladinskih Brigada 35 | Stefan Simeunovic | bar: 7
3 | Bor Institut RIM/Zeleni bulevar bb | Stefan Simeunovic | bar: 2; 7
4 | Kikinda Centar/Mikronaselje, Svetosavska bb | Stefan Simeunovic | bar: 2; 7
5 | Vršac/Vojnički trg | Stefan Simeunovic | bar: 2
6 | Sremska Mitrovica/Ulica Stari šor | Stefan Simeunovic | bar: 2; 7
7 | Niš O.š. Sveti Sava/Branka Krsmanovića | Stefan Simeunovic | bar: 2; 7
8 | Niš IZJZ Niš/Bulevar Zorana Đinđića 50 | Stefan Simeunovic | bar: 7
9 | Šabac/Hitna pomoć Šabac, Prote Smiljanića 65 | Stefan Simeunovic | bar: 2; 5 to 6
10 | Kostolac/Mesna zajednica Kostolac | Stefan Simeunovic | bar: 2
11 | Loznica/Slobodana Penezića,Elektrodistribucija Loznica | Stefan Simeunovic | bar: 2
12 | Kragujevac/Kosovska bb, parking | Stefan Simeunovic | bar: 7
13 | Zaječar/Pana Đukića bb | Stefan Simeunovic | bar: 2
14 | Čačak/Kralja Petra I br.1 | Stefan Simeunovic | bar: 7
15 | Paraćin/Dr Dragoljuba Jovanovića br.1/a | Stefan Simeunovic | bar: 1 to 2; 5; 7
16 | Kraljevo/Dimitrija Tucovića | Stefan Simeunovic | bar: 2
17 | Kruševac/U Tanta bb | Stefan Simeunovic | bar: 2; 5
18 | Novi Pazar/Kej 37. sandžačke divizije,Zabavni park | Stefan Simeunovic | bar: 7
19 | Vranje/Partizanska bb | Stefan Simeunovic | bar: 2
20 | Smederevo Carina/Branka Krsmanovića bb | Stefan Simeunovic | bar: 2; 5
21 | Novi Sad Rumenačka/Rumenačka-Bulevar Jaše Tomića | Stefan Simeunovic | bar: 1; 4; 7; 9
22 | Novi Sad Liman/Ulica Narodnog Fronta 45, dvorište dečijeg vrtića „Različak“ | Stefan Simeunovic | bar: 1 to 2; 4; 6; 9
23 | Beograd Vračar/Čuburski park,Orlovića Pavla | Stefan Simeunovic | bar: 1; 4; 7; 9
24 | Obrenovac Centar/Kralja Aleksandra I, kružni tok | Stefan Simeunovic | bar: 1 to 2; 4; 6; 9
25 | Smederevo Centar/Vojvode Đuše bb,park | Stefan Simeunovic | bar: 1 to 2; 4; 6; 9
26 | Bor Brezonik/Dečanska bb | Stefan Simeunovic | bar: 1; 3; 6; 9
27 | Bor Gradski park/Nikole Pašića bb, Gradski park | Stefan Simeunovic | bar: 1 to 3; 6; 9
28 | Beočin Centar/Kralja Petra bb, O.Š."Jovan Grčić Milenko" | Stefan Simeunovic | bar: 1 to 2; 4; 6 to 7; 9
29 | Beograd Zeleno brdo/Žabljačka 10a | Stefan Simeunovic | bar: 1; 6 to 7
30 | Kosjerić/Alekse Popovića-nastavak | Stefan Simeunovic | bar: 1 to 2; 4; 6; 9
31 | Subotica, Lajoša Joa 78,O.Š"Sonja Marinković" | Stefan Simeunovic | bar: 1 to 9
32 | Leskovac, Park Dubočica | Stefan Simeunovic | bar: 1 to 4; 6 to 9
33 | Inđija,Dušana Jerkovića 1,O.Š."Dušan Jerković" | Stefan Simeunovic | bar: 1 to 9
34 | Požega, Zmajeva 1, Dečiji vrtić "Pčelica" | Stefan Simeunovic | bar: 1 to 4; 6 to 9
35 | Bor. 8.marta | Stefan Simeunovic | bar: 1 to 4; 6 to 9
36 | Kosjerić, Radiše Petronijevića bb | Stefan Simeunovic | bar: 1 to 6; 8 to 9
37 | Niš, Dimitrija Leka bb | Stefan Simeunovic | bar: 1 to 9
38 | Čačak , dr Dragiše Mišovića bb,Dečiji vrtić "Kolibri" | Stefan Simeunovic | bar: 1 to 2; 4; 6; 8 to 9
39 | Prokuplje, Vuka Karadžića 1,Srednja poljoprivredna škola "Radoš Jovanović Selja" | Stefan Simeunovic | bar: 1 to 9
| TOTAL |  | 20 | 29 | 10 | 16 | 9 | 18 | 22 | 9 | 18